## Sheet1
| data_type | business_name | iec_attribute | tech_source_id | unit | val_min_threshold | val_max_threshold | created_by | creation_date | modified_by | modification_date
0 | Ops | wind_speed_avg | WMET4.HorWdSpd.mag.f | \N | m/s | 0 | 50 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
1 | Ops | wind_speed_min | WMET2.HorWdSpd.mag.f | \N | m/s | 0 | 50 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
2 | Ops | wind_speed_max | WMET3.HorWdSpd.mag.f | \N | m/s | 0 | 50 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
3 | Ops | wind_speed_right_avg | WMET4.HorWdSpd1.mag.f | \N | m/s | 0 | 50 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
4 | Ops | wind_speed_left_avg | WMET4.HorWdSpd2.mag.f | \N | m/s | 0 | 50 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
5 | Ops | active_power_avg | WTUR4.W.mag.f | \N | kW | Pnom*-0.1 | 1.2*Pnom | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
6 | Ops | active_power_min | WTUR2.W.mag.f | \N | kW | Pnom*-0.2 | 1.2*Pnom | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
7 | Ops | active_power_max | WTUR3.W.mag.f | \N | kW | Pnom*-0.3 | 1.2*Pnom | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
8 | Ops | Reative_power_avg | WTUR4.var.mag.f | \N | kVar | -Pnom | Pnom | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
9 | Ops | Reative_power_min | WTUR2.var.mag.f | \N | kVar | -Pnom | Pnom | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
10 | Ops | Reative_power_max | WTUR3.var.mag.f | \N | kVar | -Pnom | Pnom | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
11 | Ops | outdoor_temp_avg | WMET4.EnvTmp.mag.f | \N | °C | -50 | 60 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
12 | Ops | Wind_direction_avg | WMET4.HorWdDir.mag.f | \N | ° | 0 | 360 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
13 | Ops | wind_direction_right_avg | WMET4.HorWdDir1.mag.f | \N | ° | 0 | 360 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
14 | Ops | wind_direction_left_avg | WMET4.HorWdDir2.mag.f | \N | ° | 0 | 360 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
15 | Ops | wind_direction_min | WMET2.HorWdDir.mag.f | \N | ° | 0 | 360 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
16 | Ops | wind_direction_max | WMET3.HorWdDir.mag.f | \N | ° | 0 | 360 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
17 | Ops | Nacelle_direction_avg | WNAC4.Dir.mag.f | \N | ° | 0 | 360 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
18 | Ops | Nacelle_alignement_avg | WNAC4.WdDir.mag.f | \N | ° | -180 | 180 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
19 | Ops | Rotor_speed_avg | WROT4.rotspd.mag.f | \N | rpm | 0 | 30 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
20 | Ops | Rotor_speed_min | WROT2.rotspd.mag.f | \N | rpm | 0 | 30 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
21 | Ops | Rotor_speed_max | WROT3.rotspd.mag.f | \N | rpm | 0 | 30 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
22 | Ops | Generator_speed_avg | WGEN4.rotspd.mag.f | \N | rpm | 0 | 2000 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
23 | Ops | Generator_speed_min | WGEN2.rotspd.mag.f | \N | rpm | 0 | 2000 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
24 | Ops | Generator_speed_max | WGEN3.rotspd.mag.f | \N | rpm | 0 | 2000 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
25 | Ops | Pitch_angle_blades_avg | WROT4.blpthangval.mag.f | \N | ° | -5 | 95 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
26 | Ops | Pitch_angle_blades_min | WROT2.blpthangval.mag.f | \N | ° | -5 | 95 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
27 | Ops | Pitch_angle_blades_max | WROT3.blpthangval.mag.f | \N | ° | -5 | 95 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
28 | Ops | pitch_angle_blade1_avg | WROT4.BlPthAngVal1.mag.f | \N | ° | -5 | 95 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
29 | Ops | pitch_angle_blade2_avg | WROT4.BlPthAngVal2.mag.f | \N | ° | -5 | 95 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
30 | Ops | pitch_angle_blade3_avg | WROT4.BlPthAngVal3.mag.f | \N | ° | -5 | 95 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
31 | Ops | pitch_angle_blade1_min | WROT2.BlPthAngVal1.mag.f | \N | ° | -5 | 95 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
32 | Ops | pitch_angle_blade2_min | WROT2.BlPthAngVal2.mag.f | \N | ° | -5 | 95 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
33 | Ops | pitch_angle_blade3_min | WROT2.BlPthAngVal3.mag.f | \N | ° | -5 | 95 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
34 | Ops | pitch_angle_blade1_max | WROT3.BlPthAngVal1.mag.f | \N | ° | -5 | 95 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
35 | Ops | pitch_angle_blade2_max | WROT3.BlPthAngVal2.mag.f | \N | ° | -5 | 95 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
36 | Ops | pitch_angle_blade3_max | WROT3.BlPthAngVal3.mag.f | \N | ° | -5 | 95 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
37 | Ops | hv_transfo_phases_grid_temp_avg | WTRF4.GriTmp.mag.f | \N | °C | -30 | 200 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
38 | Ops | hv_transfo_phase1_grid_temp_avg | WTRF4.GriTmp1.mag.f | \N | °C | -30 | 200 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
39 | Ops | hv_transfo_phase2_grid_temp_avg | WTRF4.GriTmp2.mag.f | \N | °C | -30 | 200 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
40 | Ops | hv_transfo_phase3_grid_temp_avg | WTRF4.GriTmp3.mag.f | \N | °C | -30 | 200 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
41 | Ops | rotor_bearing_temp_avg | WTRM4.RotBrgTmp.mag.f | \N | °C | -30 | 200 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
42 | Ops | generator_bearing_front_temp_avg | WGEN4.BrgTmp1.mag.f | \N | °C | -30 | 150 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
43 | Ops | generator_bearing_rear_temp_avg | WGEN4.BrgTmp2.mag.f | \N | °C | -30 | 150 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
44 | Ops | generator_slipring_temp_avg | WGEN4.SlipRingTmp.mag.f | \N | °C | -30 | 150 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
45 | Ops | gearbox_bearing_LSS_temp_avg | WTRM4.ShftBrgTmp1.mag.f | \N | °C | -30 | 150 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
46 | Ops | gearbox_oil_temp_avg | WTRM4.GbxOilTmp.mag.f | \N | °C | -30 | 150 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00
47 | Ops(meter) | active_power_avg | s4MMXU1.TotW.mag.f | \N | kW | 0 | meter_max_power_mw*1000*1.2 | MUPO | 2022/02/08 17:00:00 | MUPO | 2022/02/08 17:00:00