## Event
numeric | string (MANDATORY) | date (MANDATORY) | string - select (MANDATORY) | string (multiple plants separated by ;) | string (multiple components separated by ;) | string | string - select | string - select | string (multiple users separated by ;) | string - select | string (multiple tags separated by ;) | string | date | date | date | date | numeric | string - select | string - select | string | string - boolean | numeric | numeric | string | numeric | numeric | numeric
| General Fields | [11 empty] | Timeline fields |  |  |  |  | O&M fields |  |  | Losses | [5 empty] | Notes
Use only to update existing Events. (Event IDs can be taken from BluePoint for existing events) |  | Enter date and time. Available formats: DD MMM YYYY hh:mm or DD-MM-YYYY hh:mm Example: 01-01-2022 11:30 | Options: - Components - Plants - Location | MANDATORY if "Asset Type" is Plant or Component | MANDATORY if "Asset Type" is Component | MANDATORY if "Asset Type" is Location | Options: - new - in_progress - on_hold - resolved - closed | Existing Event Type under Account Settings \ Event Types | Existing BluePoint users Enter email address | Options: - Minor - Major - Critical | Existing tags have to be entered exactly as already available in BluePoint, i.e. upper and loser case otherwise it will create a new tag |  | Enter date and time. Available formats: DD MMM YYYY hh:mm or DD-MM-YYYY hh:mm Example: 01-01-2022 11:30 | Enter date. Enter date and time format if importing Expected Resolution Date in combination with other event dates: Available formats: DD MMM YYYY hh:mm or DD-MM-YYYY hh:mm Importing only Expected Resolution Date with only date formats: DD MMM YYYY, DD-MM-YYYY, DD/MM/YYYY, MM-DD-YYYY, MM/DD/YYYY, DD/MM/YY, MM/DD/YY, YYYY.MM, MM.YYYY | Enter date and time. Available formats: DD MMM YYYY hh:mm or DD-MM-YYYY hh:mm Example: 01-01-2022 11:30 | Enter date and time. Available formats: DD MMM YYYY hh:mm or DD-MM-YYYY hh:mm Example: 01-01-2022 11:30 |  | Options: - Unknown - Covered - Not Covered | Existing Incident types under Account Settings \ HS&E Incidents Write types with multiple words with _ |  | Yes or No
Use only to update existing Events | Unique name |  |  | Plant ID of an existing Plant | Component ID of an existing Component | Location ID of an existing Location | [5 empty] | Enter text Don't press enter in a notes or description field. Separate paragraphs with multiple spaces for example |  |  |  |  | Decimal separator type "." or "," has to be the same for all values with decimals |  |  | Enter text Don't press enter in a notes or description field. Separate paragraphs with multiple spaces for example |  | Number, no more than 5 digits in total | In kWh Enter a number Decimal separator type "." or "," has to be the same for all values with decimals | Three-letter code | Number, no more than 14 digits in total Decimal separator type "." or "," has to be the same for all values with decimals |  | Enter text Don't press enter in a notes or description field. Separate paragraphs with multiple spaces for example | Enter text Don't press enter in a notes or description field. Separate paragraphs with multiple spaces for example
Event ID | Event Name | Event Date | Asset Type | Plant Identifiers | Component ID(s) | Location ID | Status | Event Type | Responsibility | Severity | Tags | Notes | Date in progress | Expected Resolution Date | Date Resolved | Date Closed | Work hours spent | Contract | HS&E Incidents | HS&E Incident Description | Has Financial Impact? | % of Plant Affected | Est. Production Loss (kWh) | Currency | Est. Revenue Loss | Resolution Costs | Resolution Notes | Root Cause
133 | Plants Outage | 2020-11-01 12:59 | Plants | 3tp1; 3tp2; 3tp4 |  |  | in_progress | Event 1.9 test | asset.manager@happypowers.com | Major | Breakdown; event | This is a description of the Breakdown event | 2020-12-01 13:00 | 2020-12-30 | 2020-12-15 08:00 | 2020-12-22 09:00 | 123.87 | Unknown | near_miss | H&S decsription, test notes | Yes | 345 | 5643.21 | eur | 212 | 12313 | Actual cost exceeded the estimation | Struck by lightning
134 | Location cleaning | 2019-11-01 06:37 | Location |  |  | OB | new | Insurance denial | asset.manager@happypowers.com | Critical | location | This is a description of the Fire event |  | 2021-11-01 |  |  | 2 |  | accident | H&S decsription | Yes | 50 | 5000 | USD | 3400 | 100000
135 | Components Missing | 2019-11-01 22:45 | Components | 3tp1 | 85818;2451 |  | on_hold | Site - Planning | asset.manager@happypowers.com | Minor | components; planning | This is a description of the Flooding event |  | 2021-11-01 |  |  | 10 | Not Covered | environmental | H&S decsription | No
122804 | Suivi mortalité 2023 | 2023-09-27 14:05 | Location |  |  | ROUS
122506 | VARA : limitation puissance Enedis Ã 1500kW | 2023-09-18 09:00 | Location |  |  | VARA
122232 | Inspection ANPA 2023 | 2023-06-07 09:17 | Location |  |  | ANPA
122207 | Inspection gearbox | 2023-06-20 10:00 | Location |  |  | ANPA
122206 | Campagne de réception | 2023-02-12 | Location |  |  | ANPA
122205 | JONC - Alarmes multiples E05 | 2023-09-07 | Location |  |  | JONC
122204 | JONC - Communication | 2023-09-09 | Location |  |  | JONC
122203 | JON2 - Perte de lien satellite | 2023-08-24 | Location |  |  | JON2
122202 | CY1X - ProblÃ¨me transformateur | 2023-07-29 | Location |  |  | CY1X
122201 | JONC - Lien telecom | 2023-07-28 | Location |  |  | JONC
122200 | ANPA - Coupure Enedis | 2023-08-02 | Location |  |  | ANPA
122199 | JONC - Scada - DEIE | 2023-08-07 | Location |  |  | JONC
122198 | TL1X - Power Stack HS | 2023-07-07 | Location |  |  | TL1X
122197 | MA2X - Explosion composant | 2023-07-28 | Location |  |  | MA2X
122196 | BVER - Effraction E05 | 2023-07-14 | Location |  |  | BVER
122195 | JON2 - Perte de com | 2023-07-19 | Location |  |  | JON2
122194 | JONC - Enedis | 2023-06-28 | Location |  |  | JONC
122193 | JAVI - Acoustique | 2023-07-10 | Location |  |  | JAVI
122192 | VARA - Limitation Enedis | 2023-07-03 | Location |  |  | VARA
122191 | JON2 - Carte I/O DTbird | 2023-06-18 | Location |  |  | JON2
122190 | JON2 - Gestion prix négatifs | 2023-06-11 | Location |  |  | JON2
122189 | JONC - Perte de connexion VPN | 2023-05-30 | Location |  |  | JONC
122188 | BRIA - Coupure HTA Enedis | 2023-04-24 | Location |  |  | BRIA
122187 | JONC - Perte de com | 2023-05-02 | Location |  |  | JONC
122186 | JONC - Perte de com | 2023-04-25 | Location |  |  | JONC
122185 | MA2X - Départ feu modules | 2023-04-25 | Location |  |  | MA2X
122184 | CY1X - SJB | 2023-04-24 | Location |  |  | CY1X
122183 | BRIA - Enedis | 2023-03-27 | Location |  |  | BRIA
122182 | JONC - Perte de communication | 2023-04-04 | Location |  |  | JONC
122181 | JON2 - Perte de lien satellite | 2023-03-28 | Location |  |  | JON2
122180 | VARA - Limitation puissance Enedis | 2023-03-30 | Location |  |  | VARA
122179 | TL1X - Maintenance | 2023-03-20 | Location |  |  | TL1X
122178 | MA2X - anomalie Transfo | 2023-03-18 | Location |  |  | MA2X
122177 | VARA - Limitation de puissance Enedis Ã 2200kW | 2023-03-06 | Location |  |  | VARA
122176 | MA2X - Intervention RTE | 2023-03-13 | Location |  |  | MA2X
122175 | JAVI - Mesure acoustique | 2023-03-08 | Location |  |  | JAVI
122174 | JONC - Lien telecom | 2023-03-10 | Location |  |  | JONC
122173 | JON2 - Lien turbinier | 2023-03-01 | Location |  |  | JON2
122172 | VARA - Mesure acoustique | 2023-02-24 | Location |  |  | VARA
122171 | MA2X - Coupure HTB | 2023-02-13 | Location |  |  | MA2X
122170 | MA2X - Poste HTB | 2023-02-13 | Location |  |  | MA2X
122169 | BVER - Effraction | 2023-02-04 | Location |  |  | BVER
122168 | CY1X - DÃ©faut ralais de protection DMCR | 2023-02-11 | Location |  |  | CY1X
122167 | CY1X - Défaut DMCR | 2023-02-11 | Location |  |  | CY1X
122166 | CY1X - Défaut composant DMCR | 2023-02-11 | Location |  |  | CY1X
122165 | JONC - Interface scada | 2023-01-31 | Location |  |  | JONC
122164 | BVER - Givre | 2023-01-18 | Location |  |  | BVER
122163 | BRIA - Levée des réserves | 2023-02-01 | Location |  |  | BRIA
122162 | JON2 - Maintenance | 2023-01-30 | Location |  |  | JON2
122161 | MA2X - Climatique | 2023-01-26 | Location |  |  | MA2X
122160 | MA2X - Climatique | 2023-01-24 | Location |  |  | MA2X
122159 | JONC - Perte de com | 2023-01-23 | Location |  |  | JONC
122158 | TL1X - Maintenance | 2023-01-19 | Location |  |  | TL1X
122157 | FIEN - Inconnue | 2023-01-11 | Location |  |  | FIEN
122156 | CY1X - Maintenance | 2023-01-15 | Location |  |  | CY1X
122155 | FIEN - Bloc Rectifier | 2023-01-05 | Location |  |  | FIEN
122154 | JAVI - Tête de cable 20kV | 2022-10-24 | Location |  |  | JAVI
122153 | JONC - Génératrice | 2022-12-30 | Location |  |  | JONC
122152 | FIEN - Transformateur | 2022-11-03 | Location |  |  | FIEN
122151 | JONC - Scada | 2022-10-19 | Location |  |  | JONC
122150 | ANPA - Enedis | 2022-12-29 | Location |  |  | ANPA
122149 | TL1X - Shelter 1 | 2023-01-16 | Location |  |  | TL1X
122148 | ANPA - UPS Scada | 2023-01-10 | Location |  |  | ANPA